## Slide 1: Regional updates: Measles and Rubella Laboratory network in the South East Asia
Sirima Pattamadilok
IVD WHO SEARO
The 14th Global Measles and Rubella Laboratory Network Meeting
Geneva, 21 June 2016

## Slide 2: Regional Measles and Rubella Goals
66th Meeting of the SEAR Regional Committee in September 2013 in New Delhi resolved to adopt the goal of measles elimination and rubella/CRS control in the South-East Asia Region by 2020
1655 days remaining

## Slide 3
Chart: Number of cases
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
India | 47147 | 55443 | 36711 | 64185 | 41144 | 44258 | 56188 | 31458 | 33634 | 18668 | 13822 | 24977 | 25488
Indonesia | 24457 | 29171 | 15853 | 20422 | 19456 | 15369 | 20818 | 18869 | 21893 | 15489 | 8419 | 12943 | 818
others§ | 22994 | 27427 | 36409 | 13515 | 12945 | 12912 | 7350 | 3901 | 14019 | 12788 | 7860 | 3426 | 3626
SEAR MCV1 coverage | 66 | 69 | 73 | 73 | 74 | 76 | 80 | 83 | 85 | 84 | 84 | 84 | 84
SEAR MCV2 coverage | 6 | 7 | 6 | 10 | 13 | 14 | 15 | 16 | 35 | 42 | 59 | 59 | 59
Reported Measles Cases and MCV1 and MCV2 Coverage SEAR, 2003–2015
Cases of measles reported to WHO and UNICEF through the Joint Reporting Form to Regional office for South-East Asia Region. Data are from WHO and UNICEF estimates for the South-East Asia Region..

## Slide 4
Chart: Number of cases
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
India | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1232 | 3698 | 4870 | 3252
Indonesia | 0 | 0 | 0 | 105 | 168 | 340 | 2090 | 1323 | 1959 | 1020 | 2355 | 3542 | 826
others§ | 1475 | 1231 | 9834 | 4026 | 13905 | 7096 | 15118 | 13952 | 7851 | 4625 | 4381 | 1126 | 867
SEAR RCV1 coverage | 0.04 | 0.046 | 0.044 | 0.0472 | 0.05 | 0.0452 | 0.046 | 0.048 | 0.05 | 2 | 10 | 12 | 12
Reported Rubella Cases and RCV* Coverage SEAR, 2003–2015
Cases of rubella reported to WHO and UNICEF through the Joint Reporting Form to Regional office for South-East Asia Region. Data are from WHO and UNICEF estimates for the South-East Asia Region..
* RCV not introduced in DPR Korea, India, Indonesia

## Slide 5: Measles-Rubella Surveillance Indicators - 2015
Country | Proportion of all suspected measles and rubella cases that have had an adequate investigation initiated within 48 hours of notification | Discarded non-measles non-rubella incidence per 100,000 total population | Proportion of subnational administrative units reporting at least two discarded non-measles non-rubella cases per 100,000 total population | Proportion of sub-national surveillance units reporting to the national level on time
Bangladesh | 91 | 1.85 | 38 | 92
Bhutan | 83 | 0.67 | - | -
DPR Korea | 96 | 0.30 | - | 100
India | - | 0.38 | - | 92
Indonesia | 44 | 0.62 | - | 38
Maldives | 82 | 2.34 | - | 100
Myanmar | 57 | 0.39 | - | -
Nepal | 17 | 0.85 | 12 | 89
Sri Lanka | - | 4.00 | - | 100
Thailand | 30 | 0.58 | 9 | -
Timor Leste | 94 | 1.4 | - | 100
Not met
Close
Fully met
No data
Source: SEAR Weekly VPD bulletin and JRF as of 15 June 2016
Of expected ~37,000 non-measles non rubella, only 9,800 reported-
26% capture rate

## Slide 6: Measles-Rubella Surveillance 2015- Incidence by country
Incidence per million  | Measles | Rubella
Bangladesh | 1.5 | 24.4
Bhutan | 14.5 | 0.0
DPRK | 0.0 | 0.0
India* | 19.9 | 38.5
Indonesia* | 3.2 | no data
Maldives | 0.0 | 0.0
Myanmar | 0.1 | 5.8
Nepal | 57.7 | 257.8
Sri Lanka | 74.8 | 4.8
Thaliand | 2.3 | no data
Timor-Leste | 38.6 | 8.3
SEAR | 15.9 | 38.7
*Note: India and Indonesia are yet to fully expand the case-based surveillance nationwide.
Measles Incidence –
>5/million; <5 per million, zero cases

## Slide 7: SEAR seems to have countries in four different stages of population immunity
Countries with low/no transmission and immunity gap closed in all age groups : DPR Korea, Thailand and Maldives
Countries with very low incidence of measles cases but with resurgence : Sri Lanka and Bhutan
Countries that have progressed to close the immunity gap in children and young adults (up to the age of 14 years) but not in older population: Bangladesh, Myanmar, Nepal, and Timor-Leste
Countries with huge birth cohorts and yet to close the immunity gap even in children : India and Indonesia

## Slide 8
2003
8 Labs
Expansion of the SEAR Measles and Rubella Laboratory Network
Established QA system
2014
37 Labs
2020
45+ Labs
2015
39 Labs

## Slide 9
SEAR MR Laboratory Network, 2015: 39 Labs
The boundaries and names shown and the designations used in the maps in this document do not imply the expression of any opinion whatsoever on the part of the World Health Organization concerning the legal status of any country, territory, city or area or of its authorities, or concerning the delimitation of its frontiers or boundaries. Dotted lines on maps represent approximate border lines for which there may not yet be full agreement.  WHO 2015. All rights reserved
1 India: ERC, Mumbai
Notes: At the present, the SEAR Measles and Rubella Laboratory Network has been expanded to a total of 39 laboratories. The network comprises one regional reference laboratory (RRL) at Thailand, two national reference laboratory (2NRL) of India, at least one national laboratory (NL) of each member states (8NL) except India (11NL) and Indonesia (4NL); and 13 sub-national laboratories (SNL) of Thailand. Moreover, Indonesia, Myanmar and Nepal have planned to increase more labs to support national case based surveillance; as above described. As of May 2015, there are 36 proficient laboratories out of 39 laboratories in the SEAR MR LabNet (Timor-Leste, Chandigarh, Delhi have yet to receive accreditation).

## Slide 10
Laboratory capacity: 39 labs | Number
1. Serology | 16
2. Serology + Viral detection (Conventional & Real-time) | 8
3. Serology + Viral detection + isolation | 11
4. Serology + Viral detection + isolation + sequencing | 4

## Slide 11: Number of Specimens Tested by the SEAR MR Lab Network, 2009-2015
Chart: 
| 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Number of Measles Specimen | 6381 | 5774 | 18197 | 13228 | 13843 | 20917 | 26411
Data as of 29 February 2016

## Slide 12: Specimens Tested by SEAR MR Laboratory Network, 2012-2015
Chart: Total specimens tested
| Dhaka | Thimphu | Pyongyang | Ahmedabad | Bengaluru | Bhopal | Chandigarh | Chennai | Delhi | Guwahati | Hyderabad | Jaipur | Kolkata | Lucknow | Patna | Pune | Bandung | Jakarta | Surabaya | Yogyakarta | Male | Yangon | Kathmandu | Colombo | Bangkok | Dili
2012 | 2553 | 81 | 72 | 116 | 168 | 88 | 364 | 19 | 67 | 142 | 35 | 428 | 2116 | 1397 | 1885 | 573 | 1455 | 978 | 84 | 607
2013 | 1747 | 99 | 63 | 65 | 261 | 16 | 129 | 128 | 34 | 469 | 30 | 643 | 576 | 2477 | 1204 | 2004 | 411 | 319 | 324 | 2377 | 467
2014 | 1992 | 61 | 55 | 468 | 381 | 212 | 263 | 74 | 138 | 289 | 1386 | 623 | 171 | 869 | 902 | 4027 | 2857 | 2643 | 695 | 282 | 328 | 2054 | 147
2015 | 2789 | 120 | 132 | 476 | 447 | 327 | 129 | 244 | 399 | 206 | 48 | 411 | 1235 | 2278 | 600 | 626 | 1919 | 4438 | 3013 | 3804 | 10 | 244 | 444 | 1798 | 228
Data as of 31 Dec 2015
Indonesia
India
4027
4438
3013
3804

## Slide 13: Results reported by the laboratory within 4 days of receiving the specimen for serology
Chart: percentage
| Bangladesh | Bhutan | DPR Korea | India | Indonesia | Maldives** | Myanmar | Nepal | Sri Lanka* | Thailand** | Timor-Leste
2014 | 99 | 100 | 100 | 62 | 60 | 100 | 52 | 78 | 8.3 | 100 | 100
2015 | 87 | 100 | 100 | 71 | 40 | 100 | 93 | 97 | 75 | 100 | 100
* started since last quarter of 2015
** data from Monthly Lab Reporting
Source: SEAR Annual EPI Reporting Form, 2016

## Slide 14
Timeliness of results reported to program, India
2015- 2016*
%
2015- Number of samples = 7,187
Note: Only Serum samples collected from outbreaks considered
%
2016- Number of samples = 4,407
% Result reported within 4 days
*data as on April 2016

## Slide 15
Reference lab | Measles | Rubella
Thai NIH (RRL) | 94.3 - 100 | 90.9 - 100
Chennai (RL of India) | 94 - 100 | 89 - 100
Bio Farma, Bandung (RL of Indonesia) | 100% | 100%
Accuracy of measles and rubella IgM detection 2015-2016

## Slide 16: Score on the WHO IgM proficiency test 2015
39 Labs | Result report | Scoring result
Measles | 95-100% (38 labs) | 95.5-100% (30 labs)
Rubella | 100% | 93.2-100% (31 labs)

## Slide 17: Scoring result of Measles IgM of PT panel in SEAR
Country (Lab ID) | Scoring result |  | Summary | Cutting point
 | Part 1 | Part 2 |  | 
Myanmar (081) | 20 | 10 | 97.7 | Batch
DPRK (139) | 20 | 9 | 95.5 | Batch, IQC
Bhutan (035) | 20 | 9.4 | 96.5 | IQC, Lately report
India-Chennai (080) | 20 | 10 | 97.7 | Cut off
India-Assam (Gauhati) (277) | 20 | 10 | 97.7 | IQC
India-Hyderabad (188) | 20 | 10 | 97.7 | Cut off
India-Jaipur (265) | 20 | 9 | 95.5 | Cut off, IQC
India-Patna (275) | 20 | 10 | 97.7 | Cut off
Indonesia-Bandung (028) | 19 | 11 | 96.2 | Interpretation result Bandung (Pos)  VIDRL (Neg)

## Slide 18: Scoring result of Rubella IgM of PT panel in SEAR
Country | Scoring result |  | Summary | Cutting point
 | Part 1 | Part 2 |  | 
Sri Lanka | 20 | 8 | 93.2 | RuM-IBL kit (kit validation criteria)
Myanmar | 20 | 10 | 97.7 | Batch
DPRK | 20 | 9 | 95.5 | Batch, IQC
Bhutan | 20 | 9.4 | 96.5 | IQC, Late report
India-Delhi | 20 | 10 | 97.7 | IQC RuM
India-Hyderabad | 20 | 10 | 97.7 | Cut off
India-Jaipur | 20 | 9 | 95.5 | Cut off, IQC
India-Patna | 20 | 10 | 97.7 | Cut off

## Slide 19
2013 | 2014 | 2015 | 2016 (as of May)
13 labs (score80-98%) | 13 labs (score80-94%) And one pending | 12 labs (score78-86%) And three provisionally | 13 labs (score85-92%) And two pending
Accreditation review 2013-2016

## Slide 20
Review results of Quality Laboratory in SEAR | Status
Serology testing results reported by the laboratory within 4 days of specimen receipt (Target: ≥ 80%) (turnaround time change from 7 days to 4 days by March 2014) | Partially (Yes: 8/11 co.)
2. IgM tests are performed on at least 50 specimens annually. | Yes
3. Accuracy of measles and rubella IgM detection (Target: ≥ 90%) | Yes
4. Score on the most recent WHO proficiency test ( Target: ≥ 90%) | Yes
5. Internal quality control (QC) procedures are implemented | Need to be addressed
6. Virus detection and genotyping results (where appropriate) are completed within 2 months of receipt of specimen and data reported to the WHO Regional Office (Target: ≥ 80%) | Need to be addressed
7. Score from the annual on-site review of laboratory operating procedures and practices (Target: ≥ 80% (NL) & ≥ 90% (RRL) | NL: Yes(32/38) RRL: Yes
Notes: These is laboratory accreditation review indicators. The blue highlight is used for monitoring of high quality surveillance system.

## Slide 21
WHO accredited | Quality laboratory | Provisionally accredited | Pending
24 | 9 | 3 | 3
*A proficient laboratory is one that is WHO accredited and/or has an established quality assurance programme with oversight by a WHO accredited laboratory. Source: Framework for verifying elimination of measles and rubella. WER no. 9, 1st March 2013
Proficient* Laboratory Status in SEAR
(as of May 2016)
Notes: Provisionally accredited – Sri Lanka, Patna India and Sub National lab Thailand-Trant
Pending- Bangladesh, Jaipur India, Timor Leste
Quality Lab- 9 in thailand

## Slide 22: To enhance Internal quality control
Opportunities for improvement
Supervision
In house control
West guard rule
In house calibration
Document control
GLP & Safety
CQI
Actions
Strengthen laboratory management skill and CQI (better we can do): The regional meeting was provided in Jakarta2014)
Build the lab assessors: The workshop on capacity building in measles and rubella laboratory accreditation in Bangkok 2015

## Slide 23: The further step for internal quality control improvement
To implement the internal quality auditing process: The Regional workshop for strengthening capacity and internal quality assurance for the SEAR measles and rubella laboratory network in Bhutan, August 2016

## Slide 24: To enhance the virus detection and genotyping result
Establishing molecular labs
Use the referral system in regional network to enhance submission of genotypes sequencing data in MeaNS and RubeNS
Encouragement of genotypes data sharing: Indonesia started submitting the nucleotides sequence data to MeaNS and RubeNS in June 2016

## Slide 25: Establishing the molecular labs for viral genome detection and amplification in 2014-2016
2014: Provide molecular lab group training for 22 labs in 9 countries (Myanmar and Timor-Leste: not yet trained)
2015: Provide on site training for 3 labs:
  Sri Lanka: Conventional RT PCR
  Nepal: Conventional RT PCR
  Bangladesh: Conventional RT PCR
2016: Provide on site training for 2 labs:
  Myanmar: Conventional RT PCR and sequencing
  Bhutan: Conventional RT PCR and Real time PCR

## Slide 26: Use the referral system in regional network to enhance submission of genotypes sequencing data in MeaNS and RubeNS
Initiated the referral system for genotypes sequencing as appropriate:
  India (7 labs): refer to NIV, Pune
  Indonesia (4 labs): refer to BioFarma, Bandung and NIHRD, Jakarta
  Nine countries (12 labs): refer to RRL, Thailand

## Slide 27
India
Nepal
D8, B3
Bhutan
Bangladesh
Sri Lanka
Myanmar
Thailand
Indonesia
Timor Leste
Maldives
DPRK
Source: Measles RRL in SEAR, Nation Institute of Health, Thailand, MeaNS, WHO SharePoint and Intercountry Training on Molecular Technique for the SEAR Measles and Rubella Laboratory Network, Bangkok, Thailand, Feb 2014
D4, D7,B3, D8
D8, B3
D4, D8
D5,D9
D5,D8,D9,B3,H1
D8, D9,G3
D5
 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
Bangladesh |  |  |  |  |  |  |  |  |  |  | B3 | B3 | 
Bhutan |  |  |  |  |  |  |  |  |  |  |  | D8,B3 | D8
DPRK |  |  |  |  |  |  |  |  |  |  |  |  | 
India | D4,D7, D8 | D4, D8 | D4, D8 | D4, D8, D7 | D4,D8 | D4,D8 | D4, D8 | D4, D8 | B3,D4, D8 | D4, D8 | B3, D4,D8 | B3,D4,D8 | D4,D8
Indonesia |  | D9 | D9 | D8 |  |  | D9 | D9,G3 | D9 | D8, D9 |  |  | 
Maldives |  | D5 |  |  |  |  |  |  |  |  |  |  | 
Myanmar |  |  |  | D5 |  |  | D9 | D9 | D9 |  |  |  | 
Nepal | D4, D8 |  |  |  | D4 | D8 | D4, D8 | D4, D8 | D8 |  |  | D4,D8 | 
Sri Lanka |  |  |  |  |  |  | D8 | D8 |  |  | B3 |  | B3
Thailand | D5 |  | D5 | D5 | D5, D9 | D9 |  | D8, D9 | D8, D9 | D8, D9 | B3 | H1 | H1
Timor Leste |  |  |  |  |  |  |  |  |  |  |  |  | 
B3
-Non active
-Active
-New finding
Measles genotypes circulating in SEAR between 2004-2016*
* Data as of 30 April 2016

## Slide 28
India
Nepal
Bhutan
Bangladesh
Sri Lanka
Myanmar
Thailand
Indonesia
Timor Leste
Maldives
DPRK
Rubella genotype distribution in SEAR between 2005- 2016*
 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
Bangladesh |  |  |  |  | 2B |  |  |  |  | 2B |  | 
Bhutan |  |  |  |  |  |  |  |  |  |  |  | 
DPRK |  |  |  |  |  |  |  |  |  |  |  | 
India |  |  | 2B | 2B | 2B |  |  |  |  |  |  | 
Indonesia |  |  |  | 1E | 1E | 1E | 1E | 1E, 2B | 1E, 2B |  |  | 
Maldives |  |  |  |  |  |  |  |  |  |  |  | 
Myanmar |  |  |  |  |  |  |  |  |  |  |  | 
Nepal |  |  |  | 2B | 2B | 2B |  | 2B |  |  |  | 
Sri Lanka |  |  |  | 1E, 2B |  |  | 2B | 2B |  |  |  | 
Thailand | 1E |  |  |  | 1E | 2B | 2B | 2B | 2B |  | 2B | 
Timor Leste |  |  |  |  |  |  |  |  |  |  |  | 
1E, 2B
2B
2B
1E, 2B
2B
1E,2B
Source: Measles RRL in SEAR, Nation Institute of Health, Thailand, RubeNS, WHO SharePoint and Intercountry Training on Molecular Technique for the SEAR Measles and Rubella Laboratory Network, Bangkok, Thailand, Feb 2014
* Data as of 30 April 2016

## Slide 29: The further step is for enhancing the use of molecular epidemiology data for identifying source of transmission

## Slide 30: Estimated budget by tests
Test | Unit cost | Estimated # | Total cost (US$)
Measles IgM | 10US$ | 37,000 | 370,000.-
Rubella IgM | 10US$ | 25,900 (70% of Total) | 259,000.-
Conventional RT PCR | 90US$ | 1850 (5% of Total) | 166,500.-
Sequencing | 96US$ | 925 (50% of PCR) | 88,880.-
Real time | 85US$ | 600 (DPRK, Maldives and Thailand) | 51,000.-
Virus isolation | 40US$ | 925 (50% of PCR) | 37,000.-
 |  |  | 972,380.-

## Slide 31: SEAR Measles and Rubella Labs Regional Office Budget Projections for 2016
Budget Line | Annual Requirement* | Funding Available | Implementation 15 Jun 2016 | Funding Source | Funding Gap
Lab Staff |  |  |  |  | 
Scientist (50% staff time) | 123,250 | 123,250 | 61,625 | CDC-Polio | Nil
MO-Measles (10% staff time) | 20,200 | 15,500 | 7,750 | CDC-Measles | 4,700
Lab Technologist (Timor Leste) | 93,250 | 93,250 | 46,625 | WHO Flexi funds | Nil
Support Staff (50% staff time) | 11,250 | 8,625 | 4,312 | CDC-Measles | 2,625
Totals | 247,950 | 240,625 | 120,312 |  | 7,325
Lab Activities** |  |  |  |  | 
Technical Assistance | 52,000 | 52,000 | 46,024 | WHO Flexi funds | Nil
Supplies, Reagents & Equip | 722,250 | 289,200 55,250 | 41,078 110,249 19,916 | CDC-Measles WHO Flexi Funds UNF/MRI | 377,800 Nil Nil
Training, Meetings & Workshops | 220,000 | 59,800 | 2,559 7,500 8,136 | CDC-Measles UNF/MRI WHO Flexi funds | 60,200 100,000 Nil
Accreditation reviews / visits | 40,000 | 11,960 | 8,001 Nil 42,636 | CDC-Measles UNF/MRI WHO Flexi FUNDS | 8,040 20,000 Nil
Totals | 1,034,250 | 468,210 | 286,099 |  | 566,040 CDC-Msls - $ 446,040 UNF/MRI - $ 120,000
Grand Total (Staff + ACT) | 1,282,200 | 708,835 (55% of annual Req) | 406,411 (57% of Resources) (32% of Annual Req) |  | 573,365 (45% of Annual Req)
* Annual Requirement is drawn from donor proposals. Projected Requirement of USD 565,000 under PB 2016-17 for IVD Regional Office has not been considered for this summary. This is because the planned costs in the activity plans are understated due to budget space limitations
** Does not include USD 325,000 budgeted by countries in support of laboratory network, requested under UNF/MRI proposal for 2016

## Slide 32: To support CRS surveillance system
Regional workshop on strengthening laboratory capacity for Rubella/Congenital Rubella Syndrome (CRS) surveillance in October 2015, Bangkok, Thailand
  To build capacity of labs to follow the new harmonized algorithm for lab-confirmation of CRS cases
  To strengthen coordination between lab-network and the surveillance teams so that complete lab-supported case-based CRS surveillance is functional in all countries in the region.

## Slide 33: Verification Commissions and Committees
Regional Verification Commission Established in April 2016.
  First meeting planned on 1st week of August
All member states have a National Verification Committee (NVC).
  DPR Korea is in the process of establishing the National Verification Committee

## Slide 34: Challenges
Quality assurance of the laboratories is an issue. To sustain the proficiency status of the huge number of the SEAR MR laboratory network require well plan and new strategic approach.
Need strong collaboration among laboratory and epidemiologist to conduct molecular epidemiology and use data to identify the source of virus as indigenous, imported or import-related
Laboratory support for case confirmation, genotyping and logistic still seen as responsibility of the WHO supported MR Laboratory network. Needs to be streamlined to respective national procurement systems.

## Slide 35: Challenges
Hard to reach areas (Bhutan, Bangladesh, Nepal, Myanmar and Maldives) are required to use DBS collection and quality assurance should be addressed
Viral detection not done regularly
The test algorithm for Point-of-Care-Testing devices should be addressed as well as the costs for testing at the labs
Data reporting system
Sustainability for elimination phase: funding and staffing

## Slide 36: Transformation required ……
Strengthening quality assurance system
  Implementation of internal auditing for all laboratories
  Lab-assessors capacity for independent accreditation review annually
  Random sampling by SEARO
Capacity building on molecular epidemiology to establish transmission pathways and genetic linkage
Country level implementation of laboratory supported CRS surveillance system
To provide technical support identifying alternate options for sample collection and ELISA diagnostic kits

## Slide 37: Acknowledgements
National Reference Laboratories, National Laboratories and Sub-National Laboratories
Regional Reference Laboratory, Thai NIH
WHO-country office
US-CDC
PHE
Global Laboratory Coordinator

## Slide 38
38
Dhanyavada
Dhanybhad
Dhon no baad
Istuti
Kaadinchhey la
Kamsa hamnida
Khob khun
Kyeizu tin ba de
Obrigada
Shukuriyaa
Terima kasih
Thank you