## Slide 1
National Institute of Infectious Diseases
- Update
Makoto Takeda
Accelerating Progress towards Measles and Rubella Control/Elimination Goals
22 June 2016

## Slide 2
National Institute of Infectious Disease
Department of Virology 3
    1 director, 1 secretary
    Measles Laboratory
    7 members (1 lab head, 5 staffs, 1 technician)
    Rubella Laboratory
      5 members (1 lab head, 3 staffs, 1 technician)
    Mumps Laboratory
    4 members (1 lab head, 2 staffs, 1 technician)
    Acute Respiratory Virus and Cytokine Laboratory
      3 members (1 lab head, 1 staff, 1 technician)
Members

## Slide 3
NIID training Course cooperated with JICA:
Laboratory Diagnosis Techniques for the Control of Vaccine Preventable Diseases, including Poliomyelitis and Measles
January 15 - February 12, 2016
Countries of trainees
Philippines
Viet Nam
Fiji
Afghanistan
Pakistan
Mozambique
Nigeria
Sudan
(14 trainees in all)
Slide by Dr. Komase K
Training course
Notes: ----- 会議メモ (15/05/26 17:47) -----
Every year NIID cooportaed with JICA (Japan Internatinal cooperation Associtaion ) held training course for measles and rubella diagnosis. Here we show some snap shots of the training course.

## Slide 4
NIID training Course cooperated with JICA:
Laboratory Diagnosis Techniques for the Control of Vaccine Preventable Diseases, including Poliomyelitis and Measles
January 15 - February 12, 2016
Training program
Lecture
RNA extraction (M&R)
RT-PCR (M&R)
IgM ELISA (M)
Virus inoculation &
propagation (M&R)
ABC staining (R)
RT-LAMP (M, demonstration)
(M: Measles R : Rubella)
Slide by Dr. Komase K
Training course
Notes: ----- 会議メモ (15/05/26 17:47) -----
Every year NIID cooportaed with JICA (Japan Internatinal cooperation Associtaion ) held training course for measles and rubella diagnosis. Here we show some snap shots of the training course.

## Slide 5
Chart: 
| A | B3 | D4 | D5 | D8 | D9 | G3 | H1
real-time RT-PCR | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
H nested RT-PCR | 67 | 100 | 67 | 100 | 0 | 67 | 33 | 67
N nested RT-PCR | 33 | 100 | 100 | 100 | 0 | 33 | 0 | 0
Detection ability in 5 copies of genome/reaction (%)
Genotype
Evaluation of molecular diagnostic methods for measles
(Promotion of the use of real-time PCR)
Usage of real-time
RT-PCR method
(Measles, 2015)
Chart: 
Comparison of genome detection ability among
the molecular diagnostic methods used in Japan
Chart: 
| Real time RT-PCR | Conventional RT-PCR
 | 68 | 32
68%
32%
1042
tests
Slide by Dr. Komase K
Virus detection

## Slide 6
Evaluation of molecular diagnostic methods for rubella
(Promotion of real-time PCR for local public laboratories)
Chart: 
| 使用したことがある | 使用していない
 | 22 | 52
Percentage of local public laboratories which have already introduced Real-time RT-PCR for rubella detection
Yes
No
75 local public laboratories, as of Aug 2015
Chart: 
| できた | できなかった
 | 137 | 6
Percentage of local public laboratories which can detect the positive control (50 copies/reaction) by Real-time RT-PCR
Yes
No
Slide by Dr. Mori Y
Virus detection

## Slide 7
 |  | Rubella virus standard RNA copies/reaction |  |  |  |  |  |  | 
 |  | 5×104 | 5×103 | 5×102 | 5×101 | 5×100 | 5×10-1 | 5×10-2 | 0
Fluorescent RT-LAMP | 1 | + | + | + | + | - | - | - | -
 | 2 | + | + | + | + | - | - | - | -
 | 3 | + | + | + | + | - | - | - | -
Real-time RT-PCR* | 1 | + | + | + | + | + | - | - | -
 | 2 | + | + | + | + | - | - | - | -
*Okamoto et al., J.Virol.Methods, 2010
F2
B1c
LB
5’
F3
3’
F1
5’
3’
F1c
B2
B3
LF
B1
Loop-mediated isothermal amplification method (Notomi et al., Nucleic Acid Res., 2000)
One temperature (60~65℃)
Rapid (~60min)
One step (RT to LAMP)
Slide by Dr. Mori Y
Virus detection
RT-LAMP method for Rubella virus detection

## Slide 8
Dried form reagents
Slide by Dr. Mori Y
Virus detection
Future plan for Direct Fluorescent RT-LAMP

## Slide 9
Positive samples
Negative samples
Slide by Dr. Mori Y
Virus detection
Future plan for Direct Fluorescent RT-LAMP

## Slide 10
RK13
/hSLAM
BHK21
/hSLAM
JEG3
/hSLAM
CPEs of MV-EGFP
(-)
RK13
BHK21
JEG3
Susceptible cell lines
to RuV
expressing SLAM
Development of the cell clones for MV and RuV isolation
Slide by Dr. Seki F
Virus isolation

## Slide 11
-2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6
4
2
6
Days after rash onset
Evaluation of new Measles IgM ELISA kit
manufactured by Denka Seiken
Number
of cases
IgM positve
IgM negative
Sera were collected from measles patients confirmed by RT-PCR
IgM positivity by days after rash onset
Slide by Dr. Komase K
Antibody detection

## Slide 12
VIDAS RUB IgG
Runpia Latex Rubella
Access Rubella IgG
Determiner CL Rubella
IgG
Denka Seiken Rubella
Evaluation of Rubella antibody detection kits (Enzygnost vs others)
 | HI (%) | Denka (%) | Deter-miner (%) | VIDAS (%) | Access (%) | Enzygnost (%) | Runpia (%)
Negative | 10 (8.62) | 9 (7.76) | 10 (8.62) | 12 (10.3) | 13 (11.2) | 10 (8.62) | 11 (9.48)
Equivocal | - | 4 (3.45) | 3 (2.59) | 4 (3.45) | 5 (4.31) | 2 (1.72) | 4 (3.45)
Positive | 106 (91.4) | 103 (88.8) | 103 (88.8) | 100 (86.2) | 98 (84.5) | 103 (88.8) | 101 (87.1)
The chosen-cut off value was the one recommended by the manufacturer
Results of samples
Slide by Dr. Okamoto K
Antibody detection

## Slide 13: Method
30% Sucrose
Supernatant
Vero/hSLAM
Ultracentrifuge:
42,000 rpm 4C
2 hours
RNA extraction:
Viral RNA Mini Kit
MiSeq
Analysis
‘Map to Reference’ command
NEXT Ultra RNA library prep kit
MiSeq Reagent Kit v2
(300-cycles)
Slide by Dr. Shirogane Y
Next generation seq

## Slide 14
genotype
Max
coverage
H1
D5
D8
D4
H1
H2
920
2281
834
579
1331
509
Next generation seq
Slide by Dr. Tahara M

## Slide 15
Epitopes

## Slide 16
Nationwide multistage cluster sampling
2,184 participants
DBS (Whatman 903 sheets)
by NCGM & MOH, Lao PDR
IgG ELISA for Measles and Rubella
at NIID
International cooperation activity Seroepidemiology for measles and rubella among general population in Lao PDR
Results from Nationwide Multistage Cluster Sampling Survey
Seroepidemiology

## Slide 17
MR
-Vac
４℃
25℃
35℃
1, 3, 7, 14, 21, or 28 days
Stability of viruses in a freeze-dried vaccine
Study design
４℃
25℃
35℃
1, 3, 6, 12, 24 hours, 2, 4, or 7 days
Potency tests of MV and RV
Stability of viruses in a reconstituted vaccine
Potency tests of MV and RV
Slide by Dr. Mori Y
Vaccine stability
Notes: We conducted two kinds of experiments.
One is
In this experiment, freeze-dried vaccines were incubated at three different temperatures, 4, 25, or 35 degree and for various incubation times until 28 days. And then they were reconstituted, and potencies of both components were determined.
Another is
In this experiment, first vaccines were reconstituted and incubated at three different temperatures for various incubation times until 7 days.

## Slide 18
Slide by Dr. Mori Y
Chart: Freeze-dried 4˚C
| 0 | 1 | 3 | 7 | 14 | 21 | 28
Measles | 4.1635 | 4.1468 | 4.2022 | 4.1195 | 4.2514 | 4.2358 | 4.2251
Rubella | 4.322 | 4.2418 | 4.2146 | 4.2615 | 4.3567 | 4.3169 | 4.3584
Chart: Freeze-dried 25˚C
| 0 | 1 | 3 | 7 | 14 | 21 | 28
Measles | 4.1635 | 4.2464 | 4.1847 | 4.1476 | 4.0106 | 4.037 | 4.0353
Rubella | 4.4 | 4.2854 | 4.2725 | 4.27 | 4.2657 | 4.3767 | 4.343
Chart: Freeze-dried 35˚C
| 0 | 1 | 3 | 7 | 14 | 21 | 28
Measles | 4.1635 | 4.1244 | 4.0398 | 3.7879 | 3.7028 | 3.4353 | 3.3431
Rubella | 4.4 | 4.2359 | 4.2299 | 4.2501 | 4.2532 | 4.269 | 4.2549
Chart: Dissolved 4˚C
| 0 | 4.2000000000000003E-2 | 0.125 | 0.25 | 0.5 | 1 | 2 | 4 | 7
Measles | 4.1247 | 4.2074 | 4.1601 | 4.0766 | 4.1559 | 4.2828 | 4.2155 | 4.1724 | 4.11
Rubella | 4.4 | 4.3522 | 4.3964 | 4.3573 | 4.2975 | 4.3353 | 4.3542 | 4.3123 | 4.3592
Chart: Dissolved 25˚C
| 0 | 4.2000000000000003E-2 | 0.125 | 0.25 | 0.5 | 1 | 2 | 4 | 7
Measles | 4.1247 | 4.1711 | 4.2189 | 4.0311 | 4.2137 | 4.203 | 4.1405 | 3.9527 | 3.5563
Rubella | 4.4 | 4.3756 | 4.3861 | 4.2284 | 4.1737 | 4.1467 | 3.8967 | 3.8081 | 3.4815
Chart: Dissolved 35˚C
| 0 | 4.2000000000000003E-2 | 0.125 | 0.25 | 0.5 | 1 | 2 | 4 | 7
Measles | 4.1247 | 4.1192 | 4.0623 | 3.8139 | 3.7988 | 3.3616 | 2.8854 | 1.5833 | 1
Rubella | 4.4 | 4.3553 | 4.2318 | 3.9364 | 3.957 | 3.6921 | 3.142 | 1.5915 | 1
Vaccine stability

## Slide 19
NIID – update
Currently 12 members in measles and rubella laboratories
Training course for laboratory diagnosis of measles and rubella for staffs in developing countries (supported by JICA)
Introduction of RT-real-time PCR for measles and rubella surveillance and EQA for prefectural laboratories
Development of RT-LAMP methods for RuV detection
Development of new cell lines available for isolation of both MeV and RuV
Evaluation of measles and rubella IgM and IgG detection kits
Next generation sequence analysis of MeV
Detailed analysis of MeV hemagglutinin epitopes (collaboration with Claude’s lab)
International co-operation for seroepidemiology
Study of vaccine stability
Summary