## Slide 1
Measles & Rubella Microarray Patches for Vaccine Equity
First trial results from The Gambia
Ed Clarke
Professor of Paediatric Infection, Immunity and Global Health | Vaccines & Immunity Theme Lead
Measles & Rubella Partnership Meeting
06 March 2024

## Slide 2: The Gambia & The MRC Unit
75th anniversary 2022
>1500 staff
Low-income
Population ~2.4 M

## Slide 3: Measles containing vaccine coverage in West Africa
Wariri O, et al. Vaccine 2023; 41(39): 5696-705.
Wariri O, et al. The Lancet Global Health 2021; 9(3): e280-e90.
Delayed MCV1 coverage, The Gambia
Elimination target
Microarray patch-based MCV administration offers a potential approach to closing the immunity gap

## Slide 4: Microarray patches
Thermostable ⇒
↓ cold chain
Pain-free
Ease of administration
⇒ minimal training
No sharps
waste
No sharps
injuries
Single dose
preparation
Reduced cost
“Highest priority, transformational innovation for
overcoming immunization barriers in LMICs”

## Slide 5: Trial design
Adults
n=45
Toddlers
n=120
Infants
n=120
Data Monitoring
Committee
Data Monitoring
Committee
MRV primed
15 to 18 months
MRV naive
9 to 10 months
 | MRV-MNP Placebo SC injection* | Placebo MNP MRV SC injection
Adults | N = 30 | N = 15
Toddlers | N = 60 | N = 60
Infants | N = 60 | N = 60
*0.9% sodium chloride
Adigweme I, et al. Trials 2022; 23(1): 775.

## Slide 6
Serum Institute of India Pvt. Ltd. Measles & Rubella Vaccine

## Slide 7: Trial schedule – toddlers & infants
-14
7
42
Visit 1
Randomization & Vaccination
Visit 2
Day 7 safety
Visit 3
Day 14 safety
Visit 4
Primary immunogenicity
Visit 5
End of study
Visit 0
Screening
14
Solicited events
Unsolicited adverse events
180
S,I
S
0
I
I
S,I
Safety (S) & Immunogenicity (I)
blood sample

## Slide 9: Safety endpoints
Solicited local and systemic adverse events - day 0 to 13
  Local: tenderness, redness, swelling
  Systemic: fever, vomiting, diarrhoea, irritability, drowsiness, reduced feeding, rash
Unsolicited adverse events – day 0 to 180
Safety laboratories – day 7
Severity graded based on Division of AIDS Tables (V2.1. Jul 2017)
Assessed for relatedness and expectedness

## Slide 10: Immunogenicity endpoints
Serum neutralizing antibody concentrations
  Gold standard correlate of protection

## Slide 11: Infant Disposition
Consented & Screened
n = 161
Randomized & Vaccinated
n = 120
Safety population
n = 120 (100%)
Primary immunogenicity population (day 42)
n = 118 (98.3%)
Screen failure
n = 38 (23.6% of screened)
Moderate malnutrition: 12 (31.6%)
Unable to attend follow-up: 11 (28.9%)
Abnormal screening labs: 9 (23.7%)
Other: 6 (15.8%)
Eligible but not vaccinated: 3
Receipt of non-study vaccine (n = 1)
Withdrawal of parental consent (n = 1)

## Slide 12: Infant demographics & growth data
 |  | Measles and Rubella Vaccine MNP N = 60 | Placebo MNP N = 60
Age (Months) |  |  | 
 | Median (Range) | 9 (9 to 10) | 9 (9 to 10)
Sex, n(%) |  |  | 
 | Male | 26 (43.3) | 25 (41.7)
 | Female | 34 (56.7) | 35 (58.3)
Race, n(%) |  |  | 
 | African | 60 (100) | 60 (100)
Tribe, n(%) |  |  | 
 | Mandinka | 35 (58.3) | 28 (46.7)
 | Wolof | 4 (6.7) | 7 (11.7)
 | Fula | 6 (10.0) | 3 (5.0)
 | Jola | 10 (16.7) | 7 (11.7)
 | Other | 5 (3.3) | 15 (13.3)
Weight for length z-score |  |  | 
 | Median (Range) | -0.3 (-1.8 to 2.9) | 0.0 (-1.8 to 1.9)

## Slide 13: Infant safety
Solicited adverse events

## Slide 14: Infant tenderness
Measles & Rubella Vaccine
Placebo
Microneedle Patch
Subcutaneous injection
Day post-vaccination (day 0)
No reaction
Grade 1

## Slide 15: Infant redness
Measles & Rubella Vaccine
Placebo
Microneedle Patch
Subcutaneous injection
Day post-vaccination (day 0)
No reaction
Grade 1

## Slide 16: Infant swelling
Measles & Rubella Vaccine
Placebo
Microneedle Patch
Subcutaneous injection
Day post-vaccination (day 0)
No reaction
Grade 1
Infants
Toddlers

## Slide 17: Infant systemic solicited adverse events
Low levels of predominantly mild (grade 1) systemic events
No severe (grade > 3) systemic adverse events in either group
No clinically significant differences between groups

## Slide 18: Infant safety
Unsolicited adverse events

## Slide 19: Infant unsolicited adverse events
99.8% mild or moderate severity
Two unrelated serious adverse events
No related serious or severe adverse events
* Includes events which occurred in at least 5 participants
MRV-MNP
Placebo-MNP
Prevalence (%)
MRV-MNP – Placebo-MNP
(%)
Related
Un-related *
All related events mild (grade 1)

## Slide 20: Infant immune responses

## Slide 21: Infant measles protection (%)
* % with measles SNA concentration > 200 mIU/mL
MRV administration method
Seroprotection (% [95% CI])*
Baseline
Day 42
Day 180
93.2%
89.8%
91.2%
93.2%

## Slide 22: Infant rubella protection (%)
* % with rubella SNA concentration > 10 IU/mL
MRV administration method
Seroprotection (% [95% CI])*
Baseline
Day 42
Day 180
100%
100%
100%
100%

## Slide 23: Infant measles antibody levels (GMC)
Baseline
Day 42
Day 180
MRV administration method
Geometric mean concentration
([95% CI]) mIU/mL
Protective level

## Slide 24: Infant rubella antibody levels (GMC)
Baseline
Day 42
Day 180
MRV administration method
Geometric mean concentration
([95% CI]) IU/mL
Protective level

## Slide 25: Infant reverse cumulative distributions
Measles
Rubella
MRV administration
MNP
SC
Baseline
Day 42
Log2 antibody concentration
(mIU/mL [measles])
IU/mL [rubella])
% of participants
> concentration

## Slide 26: Toddler results

## Slide 27: Toddler safety
Safety and tolerability comparable to the infants

## Slide 28: Toddler antibody levels (GMC)
Measles
Rubella
MRV administration method
Geometric mean concentration
([95% CI]) mIU/mL
Geometric mean concentration
([95% CI]) IU/mL
MRV administration method
Protective level

## Slide 29: Parental perceptions & acceptability
Questionnaire completed with parents
  Before vaccination (pre-vacc)
  Immediately following vaccination (post-vacc)
  Day 14
  Day 42

## Slide 30: Parental perceptions & acceptability
Which of the two methods would be better to give vaccines to children?

## Slide 31: Parental perceptions & acceptability
What are the good things about having a vaccine with the patch?
It will keep them healthy It’s not painful There are no ill effects

## Slide 32: Parental perceptions & acceptability
What are the bad things about having a vaccine with the patch?

## Slide 33: Parental perceptions & acceptability
I would be happy for a new volunteer to vaccinate my child after a short training.
Microneedle Patch
SC injection

## Slide 34: Summary
In adults, toddlers and infants the measles and rubella patch was well tolerated and safe.
Mild local reactions at the patch site were common but resolved and were of no safety concern.
Immune responses to measles and rubella were robust and comparable to those generated by subcutaneous injection.
Patches were generally received positively by parents.
These are the 1st data on the use of microarray patches to deliver vaccines to children and strongly support their further development.

## Slide 36
Clinical and Field Team
  Dr Ikechukwu Adigweme
  Anthony Mendy
  Baba Danso
  Lamin B Jarju
Data Management
  Simon Donkor
Statistics
  Michael Ooko and Dr David Jeffries
Laboratory
  Abdoulie Njie
Monitoring
  Dr Armel Zemsi
Micron Biomedical Inc
Medical Monitoring
  Dr Hilary Johnstone
CDC
  Dr Paul Rota
  Dr James Goodson
  Dr Elina El-Badry
  Dr Stephen Crooke
Serum Institute of India Pvt.Ltd
  Ravi Menon
Study participants, families and communities

## Slide 37
Thank you for listening
Questions welcome
Ed.Clarke@lshtm.ac.uk
@mrcgambia, @EdClarkeVaccine